## Slide 1: Solar neutrino experiments
Yuichi Oyama (KEK/J-PARC)
1
July 15-26, 2024 Vietnam School on Neutrino 2024 @ICISE, Quy Nhon

## Slide 2
History of solar neutrino physics
1938 Energy production in the Sun was proposed by H.A.Bethe (N)
1968 Solar neutrino deficit claimed by Homestake experiment (N)
1968 First calculation of solar neutrino flux by J.N.Bahcall
1985 Resonantly enhancement of solar neutrino (MSW effect) was proposed
1989 First real-time directional observation of solar neutrino by Kamiokande-II
1998 Super-Kamiokande confirmed solar neutrino deficit
1999 Gallex and SAGE confirmed solar neutrino deficit
2001 SNO confirmed solar neutrino oscillation by neutral current measurement (N)
2002 (KamLAND claimed LMA solution from reactor neutrino measurement)
2013 First indication of terrestrial matter effect by Super-Kamiokande
2014 Borexino claimed that pp, pep, 7Be, 8B solar neutrino fluxes are separately
measured by a single experiment
2020 Borexino observed solar neutrinos from CNO cycle
2

## Slide 3
In 1938, Hans A. Bethe proposed that the energy production in the Sun can be explained by the fusion process. It was before the discovery of neutrinos.
“the reaction H + H = D + e+ and the reactions following it, are believed to be mainly responsible for the energy production.”
Helium productions by CNO cycle in heavier stars are also discussed.
Energy production in the Sun
H. A. Bethe, Phys. Rev. 55, 434 (1939) , Nobel prize paper in 1967
3

## Slide 4
Total solar neutrino flux
The solar energy is produced by nuclear fusion. From fusion of 4 protons, a helium nucleus is produced. where DE is ~27 MeV and is, finally, emitted from the Sun.
The solar luminosity, LSun, is accurately estimated from solar energy received at the Earth's surface.
Accordingly, total ne flux at the Earth can be estimated as follows.
LSun = 3.84 x 1033 erg/sec
4p -> He + 2e+ + 2ne + DE,
F = = 6 x 1010cm-2 sec-1
(Lsun /DE)x2
4pdS-E2
4

## Slide 5
Chain reactions in the Sun
pp chain
In addition to pp chain, there are contributions from CNO cycle in which 12C work as catalyst for the cycle in heavier stars.
5

## Slide 6
component | ne flux (x 1010 cm-2s -1 ) | Error (%) | Fraction (%)
pp | 6.03 | 0.6 | 92.2
pep | 0.0147 | 1.2 | 0.22
hep | 0.000000831 | 30 | 0.000013
7Be | 0.456 | 7 | 6.97
8B | 0.000459 | 14 | 0.0070
13N | 0.0217 | 14 | 0.33
15O | 0.0156 | 15 | 0.24
17F | 0.000340 | 17 | 0.0052
Total | 6.54 |  | 100
AGSS09 M. Asplund, N. Grevesse, A. J. Sauval and P. Scott
“The Chemical Composition of the Sun”
Annual Review of Astronomy and Astrophysics, 47, 481 (2009)
Calculation of solar neutrino flux
6

## Slide 7
Energy spectrum of solar neutrinos
Standard Solar Model (SSM)
J. N. Bahcall
7

## Slide 8
9
Homestake Chlorine Experiment
The pioneer solar neutrino experiment conducted by Raymond Davis Jr. The experiment started in 1967.
615 tons of fluid C2Cl4 are stored in a tank chamber at 1480m underground in Homestake lead mine, South Dakota.
From 37Cl + ne -> 37Ar + e- reaction, 37Ar are accumulated. The energy threshold of the reaction is 0.814 MeV, and the production rate is ~0.5 37Ar/day. Sensitive to 7Be (~14%) and 8B (~78%) solar neutrinos.
37Ar atoms are extracted by bubbling helium gas through tank every few weeks. Number of 37Ar decays (t1/2 = 35 days) are counted in a low-background environment.
R. Davis Jr.
8

## Slide 9: Results from Homestake experiment
(1 SNU is 10-36 captures per target atom per second)
Standard Solar Model expectation
The number of solar neutrino events measured by Homestake experiment is about 1/3 of the Standard Solar Model prediction. The first result was published in 1968. R. Davis et al., Phys. Rev. Lett. 20, 1205(1968)
It was an evidence of neutrino oscillation, but it was not widely believed.
~25 years of data 2200 solar neutrinos
Kamiokande started solar neutrino observation
9

## Slide 10: Solar neutrino oscillation?
Homestake experiment claimed solar neutrino deficit for over 15 years. However, we did not consider the result seriously until middle of 1980s.
SSM calculation
Total neutrino flux seems to be certainly robust. It can be directly evaluated from the solar luminosity.
However, Homestake experiment does not measure pp neutrino. Other neutrino components are small fractions and not robust. It strongly depend on core temperature, chemical composition, cross sections, opacity of the Sun, etc.
Homestake experiment
Experiments in ~1MeV energy range are not territory of high energy physicists. Neutrino oscillation is territory of high energy physics.
Radiochemical method is not common technology for high energy physicists. R. Davis Jr. was not a physicist, but a chemist.
We cannot imagine the experiment !
We cannot believe the calculation !
No experiment followed Homestake.
10

## Slide 11: In 1980s
In the middle of 1980s, there were two big progress in the solar neutrino physics.
In 1985, resonant enhancement of neutrino oscillation from the core of the Sun was predicted. It is known as MSW effect.
Kamiokande experiment started an upgrade of the detector to observe solar neutrinos in 1984. The detection of solar neutrinos was succeeded in 1989.
11

## Slide 12: MSW effect
L. Wolfenstein
A. Smirnov
S. Mikheyev
When electron neutrinos travels in matter, they seem to have additional mass. It is due to charged-current forward-scattering with electrons in matter.
It is analogy of light in medium. Speed of light in medium is slower than speed of light in vacuum. It is due to forward scattering of light by medium. It seems that light have mass.
charged current forward scattering
L. Wolfenstein in 1978
12

## Slide 13
In the Sun……
In the core of the Sun, matter density is high and electron neutrinos have large additional masses. Electron neutrinos may have larger mass than muon neutrinos.
When solar neutrinos travel away from the Sun, matter density is small. Electron neutrinos have smaller masses than muon neutrinos.
Because of the change of the masses, neutrino mixing can be resonantly enhanced when the mass levels are inverted.
electron density in the Sun
A.Smirnov and S.Mikheyev in 1985
Core
Outside
Neutrino mixing can be resonantly enhanced around here
13

## Slide 14
An example of matter oscillation in the Sun
Very small mixing angle is assumed, and the survival probability of electron neutrinos is simulated.
Although the mixing angle is sin22q=0.001, about 35% of electron neutrinos convert to other flavors.
MSW effect shed light on “neutrino oscillations as a solution for solar neutrino problem”
14

## Slide 15
Why the MSW effect is so attractive…..
In the quark sector, the relation between the mass eigenstate and the flavor eigenstate was written with Kobayashi-Maskawa matrix. The mixing angles are very small, and d’~d, s’~s and b’~b.
In the lepton sector, there were strong prejudice that the mixing angles must be also small from an analogy of the quark sector. About ~2/3 reduction of solar neutrino flux by neutrino oscillation cannot be believed.
The MSW effect suggested that even if the true mixing angle is small, large flavor mixing can occur when resonant condition is satisfied.
Numbers from Particle data book 1984
Mass eigenstate
Flavor eigenstate
15

## Slide 16
Kamiokande(1983-1996)
A large water Cherenkov detector constructed at 1000 m (2400 meter water equivalent) underground in Kamioka mine, Japan.
3000 tons of pure water are viewed by 1000 20-inchF PMTs.
16

## Slide 17
“Kamioka Nucleon Decay Experiment” to
After successful exclusions of most of Grand Unified Theories….., main subjects became Solar Neutrinos and Atmospheric Neutrinos.
“Kamioka Neutrino Detection Experiment”
http://arxiv.org/abs/1207.4952
Sources of Neutrinos
17

## Slide 18
Solar neutrino and Atmospheric neutrino
Solar Neutrino
E~10 MeV energy range. (“Low energy” in Kamioka terminology)
Energies of supernova neutrinos are also in this range. Reactor neutrinos have slightly smaller energy.
ne-nm oscillation was studied with these neutrinos.
Atmospheric neutrino
E~1 GeV energy range. (“ATMPD” in Kamioka terminology)
Accelerator neutrino beam have similar energies. Nucleon decays are also in this energy range (if exist).
nm-nt oscillation was studied using neutrinos in this energy range
18

## Slide 19
Kamiokande-II
When Kamiokande experiment started, the trigger threshold of the detector was ~29 MeV. This threshold was low enough to detect nucleon decay mode p->nK+(m+n), which records the smallest energy deposit in the detector.
To detector 8B solar neutrinos, the trigger threshold of the detector should be reduced to be around ~8 MeV.
In addition to the trigger threshold, background events in the low energy range should be reduced.
From fall 1984 to end of 1986, many detector upgrade to observe 8B solar neutrinos were done. They are:
After these upgrade, namely, Kamiokande-II started in early 1987.
Removal of radioactive sources in water
Construction of anticounter
Installation of New electronics
19

## Slide 20

e
Solar neutrinos in water Cherenkov detector
ne + e -> ne + e
In water Cherenkov detector, only 8B neutrinos whose nominal energy is ~8 MeV can be detected.
Elastic scattering between neutrinos and orbital electrons are employed. Recoil electrons keep energy and directional information of initial neutrinos
Interactions with hydrogen and oxygen nuclei do not occur because the energy of solar neutrinos are too low.
20

## Slide 21: Observation of solar neutrinos in Kamiokande-II
K.S.Hirata et al., Phys. Rev. Lett. 63, 16(1989)
Background
Based on 450 days of data, the first real-time, directional neutrino signal from the direction of the Sun was found.
The observed neutrino flux is 0.46 ± 0.13(stat.) ± 0.08(sys.) of SSM prediction.
The observation is certainly smaller than the SSM prediction. However, the discrepancy is not consistent with Homestake. Homestake : ~ 1/3 of SSM Kamiokande-II : ~ 1/2 of SSM
After Kamiokande-II observation, measurements with different energy threshold became key issue for other new experiments.
21

## Slide 22
Solar neutrino/Reactor neutrino experiments
Double Chooz
RENO
Daya Bay
SAGE
Gallex/GNO
Super-Kamiokande
SNO
KamLAND
Borexino
Solar neutrino observation became an active research subject, and many solar/reactor experiments followed.
22

## Slide 23
Solar neutrino/Reactor neutrino experiments
Y.Totsuka/ Super-Kamiokande
A.Suzuki/ KamLAND
S.B.Kim/ Reno
E.W.Beier/ SNO
Kamiokande-II became a historical prototype for some of other solar/reactor neutrino detectors. Radioactivity-free-liquid (water, heavy water or liquid scintillator) are target materials. They are stored in a large tank and viewed by large diameter PMTs. The inner detector is surrounded by 4p anticounter.
Members of Kamiokande-II became leaders in other experiments: - Spokespersons of Super-Kamiokande, KamLAND and Reno were members of Kamiokande-II. - University of Pennsylvania group joined SNO experiment and designed the SNO electronics. The co-spokesperson of the SNO experiment was a member of Kamiokande-II.
23

## Slide 24: In 1990s
Around the end of 1990s, three experiments reported the solar neutrino deficit.
In 1998, Super-Kamiokande confirmed the 8B solar neutrino deficit with high statistics.
In 1999, two gallium experiments Gallex and SAGE reported solar neutrino deficit at lower energy threshold.
24

## Slide 25
Super-Kamiokande (1996 - )
50 kt water Cherenkov detector with 11146 20-inch F PMTs. The fiducial volume is 22.5 kt.
Located at 1000 m underground in Kamioka mine, Japan
Operation since April 1996.
25

## Slide 26
Typical Low energy event in Super-Kamiokande
The vertex position is obtained from the timing information of PMTs, which is shown by the color in the display. The vertex resolution is 87cm for 10 MeV electron.
The electron travel direction can be calculated from the ring pattern. The angular resolution is 26o for 10 MeV electron
The electron energy is calculated from number of hit PMTs. The number of hit PMT is ~6 hits/MeV. The energy resolution for 10 MeV electron is 14%.
26

## Slide 27
Y.Fukuda et al., Phys. Rev. Lett. 81, 1158(1998)
The first result from Super-Kamiokande
The first result on solar neutrino was published in 1998. The analysis was based on 297.4 days data from May 1996 to June 1997.
Angular correlation between low energy events and the solar direction was plotted. Clear excess from the Sun was found.
Number of excess events was 4017±105 (stat) (syst) in energy range between 6.5 MeV and 20 MeV. It corresponds to ~13.5 events/day.
The solar neutrino signal was certainly smaller than the Standard Solar Model (SSM) prediction, and consistent with Kamiokande.
+161
-116
Data/SSM = 0.358 (stat) (syst)
+0.009
-0.008
+0.014
-0.010
27

## Slide 28
Gallex is a radio-chemical experiment using 30.3 tons of 71Ga in GaCl3. It is located at 3400 m.w.e. underground Laboratori Nazionali del Gran Sasso, Italy. In 1998, the total 71Ga was increased to 100 tons, and the experiment was renamed to GNO.
From an inverse b-decay 71Ga + ne -> 71Ge + e- reaction, 71Ge is generated and is extracted every ~20 days.
71Ge decay through electron capture with t1/2 =11.43 days. This decay is measured by proportional counters.
The energy threshold for the inverse b-decay reaction is 0.233 MeV. The measurement is sensitive to all solar neutrinos including pp neutrinos.
Gallex (1991-1997) and GNO (1998-2003)
28

## Slide 29
GALLEX
GNO
Gallex/GNO results
The averaged neutrino capture rate in the Gallex period is
The capture rate in the GNO period is
The average of Gallex and GNO is significantly smaller than SSM.
W.Hampel et al., Phys.Lett. B447, 127 (1999)
M. Altmann et al., Phys.Lett. B616, 174(2005)
(77.5±6.2(stat) (syst)) SNU (May 1991-Jan.1997)
+4.3
-4.7
(62.9 (stat)±2.5(syst)) SNU (May 1998-Apr.2003)
+5.5
-5.3
(69.3±5.5(stat+syst)) SNU (May 1991-Apr.2003)
The SSM expectation is 129 SNU.
BP98: J. N. Bahcall et al., Phys. Lett. B433, 1 (1998)
29

## Slide 30
SAGE (1990- )
SAGE (Soviet-American Gallium Experiment) is a Radio-chemical experiment using 57 tons of liquid metallic gallium. It is located in Baksan Neutrino Observatory at 4700 m.w.e in Caucasus, Russia.
From an inverse b-decay 71Ga + ne -> 71Ge + e- reaction, 71Ge is generated and is extracted from 71Ga every ~27 days.
71Ge decay through electron capture with t1/2 =11.43 days. This decay is measured by proportional counters.
The energy threshold for the inverse b-decay reaction is 0.233 MeV. The measurement is sensitive to all solar neutrinos including pp neutrinos.
Those detection method is almost same as Gallex/GNO.
30

## Slide 31
SAGE results
The first result was published in 1999. The neutrino capture rate was measured to be
An updated result was published in 2009. The solar neutrino rate was constant during the entire period. The averaged rate was
The standard solar model (SSM) expectation is 129 SNU (BP98). The data is 52~53% of the standard solar model prediction.
(67.2 (stat) (syst)) SNU (Jan.1990-Dec.1997)
+7.2
-7.0
+3.5
-3.0
(65.4 (stat) (syst)) SNU (Jan.1990-Dec.2007)
+3.1
-3.0
+2.6
-2.8
J. N. Abdurashitov et al., Phys. Rev. C 90, 015807 (2009)
J. N. Abdurashitov et al., Phys. Rev. C 60, 055801 (1999)
BP98: J. N. Bahcall et al., Phys. Lett. B433, 1 (1998)
31

## Slide 32
Experiment | Reactions and threshold | Neutrino sources | Results (Ratio to the SSM)
Homestake (1967-1995) | ne + 37Cl -> e+ + 37Ar 0.814MeV | 7Be(~14%), 8B(~78%) | 0.275±0.017±0.017 (BP95) Ap.J. 496, 505(1998)
Kamiokande (1983-1996) | ne + e- -> ne + e- ~7 MeV | 8B(> 99%) | 0.492 ±0.058 (BP92) Phys.Rev.Lett. 77, 1683(1996)
Super-K (1996-) | ne + e- -> ne + e- ~6.5 MeV | 8B(> 99%) | 0.358 (BP95) Phys.Rev.Lett. 81, 1158(1998)
GALLEX (1991-1997) | ne + 71Ga -> e- + 71Ge 0.233MeV | pp(~53%), 7Be(~27%), 8B(~11%) | 0.601±0.048 (BP98) Phys.Lett. B447, 127(1999)
SAGE (1990-) | ne + 71Ga -> e- + 71Ge 0.233MeV | pp(~53%), 7Be(~27%), 8B(~11%) | 0.521 (BP98) Phys.Rev.C60, 055801(1999)
+0.033
-0.036
+0.056
-0.054
+0.027
-0.023
Summary of solar neutrino experiments before 2000
By the end of 20th century, 5 experiments with 3 different energy thresholds had successfully measured solar neutrino flux.
All experiments found that their measurements are smaller than the SSM expectations. However, the ratio to the SSM depend on experiments.
+0.034
-0.033
+0.009
-0.008
+0.014
-0.010
32

## Slide 33: Around end of 1990s…….
Around the end of 1990s, there was another big change. It was our mind about neutrino oscillation.
In 1998, atmospheric neutrino oscillation was established by Super-Kamiokande. After that all experiments are aggressive to affirm atmospheric neutrino oscillations.
This optimism extended to solar neutrinos. No experiment hesitate to claim their solar neutrino deficits. As soon as any deficit was found, neutrino oscillation was claimed and constraints on the oscillation parameters were discussed.
Experiment | Laboratory | Neutrino Source | Start | Confirm Neutrino Oscillation
MACRO | Gran Sasso, Italy | atmospheric | 1989 | Jun. 1998
Soudan-2 | Soudan, U.S.A | atmospheric | 1989 | Jan. 1999
Gallex | Gran Sasso, Italy | solar | 1991 | Oct. 1998
SAGE | Baksan, Russia | solar | 1990 | Apr. 1999
Experiments which claimed neutrino oscillations around end of 1990s
33

## Slide 34
Constraints on Dm2 – sin22q plane
Constraints on oscillation parameter regions was calculated based on solar neutrino deficits. Four regions remain as possible solutions.
"Energy spectrum" and “Day-Night asymmetry" became key issue.
34

## Slide 35
Day-Night asymmetry
Muon neutrinos may generate from electron neutrinos by neutrino oscillation in the core of the Sun. They also travel from the Sun to the Earth.
They may oscillate back to electron neutrinos again by matter effect in the Earth, since the matter density in the Earth (r=5~13 g/cm3) is not negligibly small.
Such regeneration might be detected as Day-Night asymmetry or zenith angle distribution of solar neutrino flux.
35

## Slide 36
Around end of 20th century, 2 large experiments were under construction. First results were reported in early 21st century.
In 2001, SNO confirmed solar neutrino oscillation by observation of neutral current measurement.
In 2002, KamLAND found that LMA solution is the answer for the solar neutrino deficit.
In 2000s
KamLAND is not a solar neutrino experiment but a reactor neutrino experiment. However, it is closely related to the electron neutrino oscillation, and is mentioned briefly. Details was already presented by another lecturer in the last week.
36

## Slide 37
SNO (Sudbury Neutrino Observatory) is a heavy water (D2O) Cherenkov detector located in 6010 m.w.e. underground in Sudbury, Ontario, Canada.
In the 12.01 m diameter transparent acrylic vessel, 1000 tons of D2O are stored.
The acrylic vessel is surrounded by 1700 tons of H2O layer in the inner vessel.
The inner D2O volume are viewed by 9456 8-inch PMTs, supported by a 17.8 m diameter stainless steel structure. The photo coverage is 60%.
The inner vessel is surrounded by 5300 tons of H2O layer as an outer shielding.
SNO (1999-2006)
37

## Slide 38
An example of the SNO event
The vertex position and the travel direction of the particle are calculated from the timing/charge information of the hit PMTs .
The reconstruction accuracy and resolution are measured using Compton electrons from the 16N calibration source (predominantly 6.13 MeV g’s). At these energies, the vertex resolution is 16 cm and the angular resolution is 26.7o.
Number of hit PMT is ~9 hits/MeV, and the energy resolution for 5 MeV electron is 16%.
38

## Slide 39
Herbert H. Chen
(1942-1987)
D2O water Cherenkov detector
Heavy water Cherenkov detector was proposed by Herbert H. Chen in 1985. "Direct Approach to Resolve the Solar-Neutrino Problem” Herbert H. Chen, Phys. Rev. Lett.55,1534 (1985)
SNO group could start the experiment by borrowing 1000 ton D2O from Atomic Energy of Canada Limited, a Canadian government-owned company. The market price of the 1000 ton D2O was 330M C$ or 230M US$, but they did not pay any charge.
Unfortunately, Chen passed away by leukemia at age 45 in 1987. However, his name can be found in the author list of the Nobel prize papers of the SNO experiment published in 21st century.
A direct approach to resolve the solar-neutrino problem would be to observe neutrinos by use of both neutral-current and charged-current reactions. Then, the total neutrino flux and the electron-neutrino flux would be separately determined to provide independent tests of the neutrino-oscillation hypothesis and the standard solar model. A large heavy-water Cherenkov detector, sensitive to neutrinos from 8B decay via the neutral-current reaction n + d -> n + p + n and the charged-current reaction n + d -> e + p + p, is suggested for this purpose.
39

## Slide 40
-Same as H2O
-Mainly sensitive to CC interaction of ne
-~1/6 cross section for NC of all neutrinos -Low statistics but strong forward peak
Neutrino interactions with D2O
ES (Elastic Scattering)
CC (Charged Current)
NC (Neutral Current)
-Sensitive only to ne
-Energy threshold is 1.442 MeV -Angular distribution of e  (1–1/3cosq) -No neutron produced.
-Equal cross section for all neutrino types
-Total 8B neutrino flux can be measured
-Energy threshold is 2.22 MeV
-Neutron capture is a key issue
40

## Slide 41
Phase-I (pure D2O phase), Nov.1999- May 2001 (306 days) -Neutron captured on deuteron and single 6.25MeV g is produced
Phase-II (salt phase), Jul.2001- Sep 2003 (391 days) -2 tons of NaCl was added in D2O, and neutrons are captured by 35Cl. -Neutron capture rate was increased by factor more than 3.
Phase-III (3He counter phase), Nov.2004- Nov. 2006 (385 days) -36 3He neutron counters were installed in pure D2O. -Different neutron detection method provides excellent cross check.
Neutron capture in SNO
To identify n + d -> n + p + n reaction, detection of the neutron is important. Three different neutron detections were employed in 3 SNO phases
Q.R.Ahmad et al., Phys.Rev.Lett. 89, 011301(2002)
S. N. Ahmed et al., Phys.Rev.Lett. 92,181301(2004)
B. Aharmim et al., Phys.Rev.Lett,101, 111301(2008)
41

## Slide 42
SNO results (pure D2O phase)
From the forward peak, 263.6 ES events were identified.
From the slope of  (1-1/3cosq) distribution,
1967.7 CC events were selected.
Using 6.25MeV g signal from the neutron capture
576.5 NC events
were selected.
FES = (2.39 (stat)±0.12(syst)) x 106 cm-2s-1
FCC = (1.76 (stat)±0.09(syst)) x 106 cm-2s-1
FNC = (5.09 (stat) (syst)) x 106 cm-2s-1
+0.06
-0.05
+0.24
-0.23
+0.44
-0.43
+0.46
-0.43
Q.R.Ahmad et al., Phys.Rev.Lett. 89, 011301(2002)
Correlation with the solar direction
NC flux agree with the SSM prediction, ~4.6x106 cm-2s-1 (14% error)
+26.4
-25.6
+61.9
-60.9
+49.5
-48.9
SNO pure D2O phase, 306.4 days data (Nov. 1999 – May 2001).
The 8B neutrino fluxes measured with each reactions are
Difference between FNC and FCC is thought to be contribution from nm or nt.
42

## Slide 43
Q.R.Ahmad et al., Phys.Rev.Lett. 89, 011301(2002)
The ne and nm (or nt) fluxes can be calculated from comparison of three fluxes.
In the Fe-Fmt plane, allowed regions from ES/CC/NC measurements intersect at one region.
The ne and nm (or nt) fluxes are obtained as
This is the first observation of nm (or nt) which were oscillated from solar ne.
Determination of ne and nm(nt) fluxes
Fe = (1.76±0.05(stat)±0.09(syst)) x 106 cm-2s-1
Fmt = (3.41±0.45(stat) (syst)) x 106 cm-2s-1
+0.48
-0.45
43

## Slide 44
KamLAND(2002-)
KamLAND (Kamioka Liquid scintillator Anti-Neutrino Detector) is located at 2700 m.w.e. underground in Kamioka mine, Japan. 1000 ton liquid scintillator is viewed by 1325 17-inch F fast PMTs and 554 20-inchF large area PMTs.
Reduction of anti-neutrino flux from reactors (175±35) km away from Kamioka was examined.
If LOW or VAC solution, the neutrino travel distance is too short for oscillation. If SMA solution, MSW condition is not satisfied. Deficit could be found only if LMA solution is the case.
From the exposure of 162 ton・yr, 54 events ( > 3.4MeV) were observed, where the expectation for null oscillation is 86.8±5.6. The ratio is 0.611±0.085(stat)±0.041(syst).
It is a strong evidence that the LMA solution is the answer for the solar neutrino problem.
Number of events
K.Eguchi et al., P.R.L. 90, 021802(2003)
44

## Slide 45
After 2010, two experiments reported critical new results after long data accumulation.
In 2013, first indication of terrestrial matter effect was reported by Super-Kamiokande after more than 15 years of data-taking.
In 2014, Borexino claimed that pp, pep, 7Be, 8B solar neutrino fluxes are separately measured by a single experiment. In 2020, they also observed solar neutrino flux from CNO cycle.
After 2010
45

## Slide 46
Super-Kamiokande in 21st century
“Energy spectrum” and “Day-Night asymmetry” are studied with high statistics data.
To cover wider energy range, many efforts were made. Especially, new electronics were installed in Super-Kamiokande-IV, and the minimum kinetic energy was reduced to be Ekin = 3.5MeV.
Summary of the solar neutrino detection in ~18 years.
 | period | Live days | Ekin(MeV) | Extracted Signal
SK-I | 1996.04-2001.07 | 1496 | 4.5-19.5 | 22404±226(stat)
SK-II | 2002.10-2005.10 | 791 | 6.5-19.5 | 7213 (stat)
SK-III | 2006.07-2008.08 | 548 | 4.0-19.5 | 8148 (stat)
SK-IV | 2008.09-2014.02 | 1664 | 3.5-19.5 | 31891 (stat)
+153
-151
+283
-281
+133
-131
The SK results in this lecture are based on the official publications.
A.Renshaw et al., Phys.Rev.Lett. 112,091805(2014) (for day-night)
K.Abe et al., Phys.Rev.D94, 052010(2016) (for energy spectrum)
The latest (but preliminary) results using 5805.08 live days data (~SK-IV) can be found in Y.Koshio’s talk at Neutrino 2022.
46

## Slide 47
Angular correlation with the Sun
Angular correlation with the solar direction is obtained.
Large statistics is certainly the advantage of Super-Kamiokande.
Fe=(2.308±0.020(stat) (syst)) x 106 cm-2s-1
+0.039
-0.040
47

## Slide 48
Data/SSM as a function of the recoil electron kinetic energy.
The distribution well agree with the LMA solution.
Energy spectrum from Super-Kamiokande
48

## Slide 49
The first indication of day-night asymmetry of solar neutrino flux was reported by Super-Kamiokande in 2013.
Day-Night asymmetry of solar neutrino flux
The asymmetry is ADN=2(D-N)/(D+N)=(-3.3±1.1(stat)±0.5(syst))%. It is deviated from zero by 2.7s. (In Neutrino 2022, it was reported by Y.Koshio that the significance of the day-night asymmetry became larger. It is 3.2s for solar best fit, and 3.1s for global best fit.)
49

## Slide 50
Day-Night asymmetry as a function of the recoil electron kinetic energy.
Regeneration of solar neutrinos by matter effect in the Earth well explain the asymmetry. The result agree with the LMA solution.
Day-Night asymmetry of solar neutrino flux
ADN=2(D-N)/(D+N) (%)
50

## Slide 51
Borexino (2007- )
Borexino is a liquid scintillator solar neutrino detector located at 3400 m.w.e. underground in Gran Sasso (Italy).
278 ton liquid organic scintillator (PC + PPO) is stored in a 8.5mF Nylon container. The fiducial mass is 100 ton.
An 13.8mF stainless-steel sphere surrounds the Nylon container. About 1000 tons of PC is filled between the Nylon container and the stainless-steel sphere.
2200 8-inchF PMTs on the inner wall of the stain-less steel sphere view lights from the organic scintillator.
The spherical tank is surrounded by H2O water Cherenkov anti-counter
PC: C6H3(CH3)3
PPO : C15H11NO
51

## Slide 52
Borexino data
Electrons scattered by neutrinos ionize the liquid scintillator, and fluorescence lights are emitted from the liquid scintillator.
The light yield is ~500p.e./MeV. Because of this large light yield, the energy of the incident particle can be determined with energy resolution: DE ~ 5% (E/1MeV)1/2.
The energy threshold is ~200keV.
Since the fluorescence lights are emitted isotropically, directional information of the incident particles cannot be obtained.
The energy spectrum of the incident particle is essential.
52

## Slide 53
Borexino analysis
Events correlated to cosmic ray muons are rejected. External background events are also rejected by the fiducial volume cut.
The energy spectrum is composed of solar neutrinos and radioisotopes in the detector.
Possible radioisotopes are 11C, 14C, 210Bi, 210Po, and 85Kr. The energy spectrum of their decay products are well known. The energy spectrum from solar neutrinos are also well understood.
The energy spectrum is carefully fitted using all contributions from radioisotopes and solar neutrinos.
raw spectrum
cosmic ray muon cut
fiducial volume cut
53

## Slide 54
Borexino result
Low energy part
A total of 1291.51 days x 71.3 tons data recorded between Dec.14 2011 and May 21 2016 are analyzed. The energy spectrum between 0.19MeV and 2.93MeV is fitted, and solar neutrino fluxes are extracted.
8B flux was reported in earlier paper.
HZ : High metallicity SSM LZ : Low metallicity SSM
The first full spectroscopy was reported in Nature 512, 383(2014)
O. Smirnov for Borexino collaboration Talk at Neutrino 2018
54

## Slide 55
Survival probabilities of solar neutrinos from Borexino
Neutrino fluxes are divided by the SSM predictions, and the survival probabilities are plotted as a function of neutrino energy.
This is the full spectroscopy of the solar neutrinos obtained from a single experiment.
Agreement with the LMA (Large Mixing Angle) solution is excellent.
55
M. Agostini et al. (Borexino collaboration, Nature 496, 505 (2018)
High metallicity SSM

## Slide 56
Borexino collaboration observed solar neutrinos from CNO cycle in 2020. Updated results were reported in Neutrino 2022 conference.
The CNO neutrino flux is , which is ~7s significance from absence of CNO neutrinos
Combined with other solar neutrino fluxes, the LZ hypothesis is disfavored at a level of 3.1s. (Examination of Standard Solar Model is out of scope of this lecture....)
Observation of CNO neutrinos
FCNO = (6.6 ) x 108 cm-2s-1
+2.0
-0.9
56
Events/(5Nh)
The first CNO publication by the Borexino collaboration was Nature 587, 577(2020)
B. Caccianiga for the Borexino collaboration, Neutrino 2022.

## Slide 57
Constraints on oscillation parameters in Dm221-sin22q12 plane was calculated.
Dm221 from solar neutrino data shows ~1.5s discrepancy with KamLAND. The discrepancy was ~2s in 2016. At that time, it was referred as tension.....
Let’s combine all solar neutrino data
57

## Slide 58
The survival probability of solar neutrino agree with the LMA solution in E < 1 MeV (vacuum oscillation) region and E>6MeV (matter effect) region.
For final confirmation of LMA solution, data in 1 MeV < E < 6 MeV region is necessary. However, solar neutrino flux in this energy region is small, and experimental data is poor.
When the detection threshold of 8B solar neutrino become lower, the neutrino survival probability should turn up. This upturn cannot be observed so far.
Let’s combine all solar neutrino data
58

## Slide 59
Remaining problems
There are still some unsolved problems on solar neutrino physics.
The oscillation parameter Dm2 from solar neutrino experiments shows ~1.5s tension with that from KamLAND.
The oscillation probability in 1 MeV < E < 6 MeV region (upturn) must be measured for the final confirmation of LMA solution.
More precise measurements for day/night asymmetry.
High metallicity SSM or Low metallicity SSM
59

## Slide 60
Large volume/low radioactivity technology
For the detection of solar neutrinos, detectors of large volume and low radioactivity are essential. Many advanced detector technologies were accumulated after their hard works.
For example, radioactivity in the Borexiono experiment was significantly reduced. These low contamination led to the successful observation of CNO neutrinos. These low 232Th/238U contaminations are always shown in their presentations or articles as a great achievement.
The reduction of radioisotopes in a large detector is definitely hard work. A young member of a solar neutrino experiment complained. Please do not ask who in which experiment.
2020
232Th : < 5.7x10-19 g/g
238U : < 9.4x10-20 g/g
2008
232Th : < (6.8±1.5)x10-18 g/g
238U : < (1.6±0.1)x10-17 g/g
“More than 80% of our detector effort is cleaning of the large detector components and purification of the large volume liquid……”
60

## Slide 61
From solar neutrino to other physics
Their large volume/low radioactivity technologies can be also applied for other physics.
Large volume/low radioactivity technologies will open new fields of particle physics.
Kamland succeeded to observe geoneutrinos. It was also upgraded to KamLAND-Zen to examine 0nbb (neutrinoless double beta decay).
SNO was upgraded to SNO+. Their purpose is also discovery of 0nbb.
61

## Slide 62
Nobel Prize in solar neutrino experiments
Raymond Davis Jr. of Homestake experiment shared the Nobel Prize in Physics for 2002 with Masatoshi Koshiba. The reason of the award is “for pioneering contributions to astrophysics, in particular for the detection of cosmic neutrinos”
Arthur B. McDonald of SNO experiment shared the Nobel Prize in Physics for 2015 with Takaaki Kajita. The reason of the award is “for the discovery of neutrino oscillations, which shows that neutrinos have mass”
62

## Slide 63
History of solar neutrino physics
1938 Energy production in the Sun was proposed by H.A.Bethe (N)
1968 Solar neutrino deficit claimed by Homestake experiment (N)
1968 First calculation of solar neutrino flux by J.N.Bahcall
1985 Resonantly enhancement of solar neutrino (MSW effect) was proposed
1989 First real-time directional observation of solar neutrino by Kamiokande-II
1998 Super-Kamiokande confirmed solar neutrino deficit
1999 Gallex and SAGE confirmed solar neutrino deficit
2001 SNO confirmed solar neutrino oscillation by neutral current measurement (N)
2002 (KamLAND claimed LMA solution from reactor neutrino measurement)
2013 First indication of terrestrial matter effect by Super-Kamiokande
2014 Borexino claimed that pp, pep, 7Be, 8B solar neutrino fluxes are separately
measured by a single experiment
2020 Borexino observed solar neutrinos from CNO cycle
63

## Slide 64
Thank you !
64

## Slide 65
CNO cycle

## Slide 66
Removal of radioactive sources in water
The most serious background were the b-decay products in Uranium-Radium series. Their nominal energies are < several MeV.
Fresh water from the mine contains large concentration of Radon. Supplying the fresh water was stopped and closed circulation mode was employed. A Radon-free water generation system was also installed.
In the water circulation system, Uranium resin and Ion-exchanger were added.
To prevent contact of water and Radon-rich mine air, an air-tight ceiling on the top of the tank were made. Other components in the water circulation system were also made air-tighten.
Finally, the radioactivity was reduced by 3 orders of magnitudes.

## Slide 67
Anticounter
The anticounter layer surrounding the inner detector were newly constructed until fall 1985. It was also water Cherenkov detector with >1.4 m water thickness and 123 20-inchF PMTs.
The main purpose of the anticounter layer is to identify entering/exiting charged particles such as cosmic ray muons.
The anticounter water layer effectively absorb radio activities from surrounding rocks and air.
Rocks
b, g, n
anticounter

## Slide 68
Nov. 1984

## Slide 69
New electronics
University of Pennsylvania group joined the experiment and installed new readout electronics in summer 1986.
The new electronics was operated with the condition Nhit ≧ 20, which corresponds to 7.6MeV energy threshold.
E(MeV)
Design of the new electronics
Charge and timing information of PMTs are digitized in PMT by PMT basis.
Discriminator is also in PMT by PMT basis. “Number of hit PMT” signal is made from sum of the discriminator outputs, and used for the trigger logic.
Trigger efficiency
Kamiokande-I (50% eff. @29MeV)
Kamiokande-II (50% eff. @8.7MeV)

## Slide 70
Lower the trigger rate !
Old electronics (1985)
(with improved trigger logic)
50%@~14MeV
Fresh water
New electronics (Jul 1986 - )
20 hit PMT
50%@7.6MeV
Finally, trigger rate of low energy events reduced by more than 3 orders of magnitudes.
The detector became ready for solar neutrino observation in early 1987.

## Slide 71
KamLAND(2002-)
KamLAND (Kamioka Liquid scintillator Anti-Neutrino Detector) is located at 2700 m.w.e. underground in Kamioka mine, Japan.
1000 ton liquid scintillator is contained in a 13mF spherical balloon.
It is viewed by 1325 17-inchF fast PMTs and 554 20-inchF large area PMTs. The photocathode coverage is 34%.
An 18mF spherical stainless-steel tank, and buffer oil between the balloon and the tank shields the liquid scintillator from external radiation.
The spherical tank is surrounded by H2O water Cherenkov anti-counter

## Slide 72
The photon yield from charged particles in the liquid scintillator is ~500 p.e./MeV. Because of this excellent photon yield and low radio activities in the detector material, charged particles in the liquid scintillator with energy larger than ~1.8 MeV can be detected.
An electron anti-neutrino interacts with a proton by an inverse b-decay reaction. The nominal energy of the positron from a reactor anti-neutrino is ~3MeV. The neutron is captured by a proton, and a 2.2MeV g-ray is emitted with an average delay time t~200msec. The electron anti-neutrino signal can be identified by the coincidence between the prompt positron and the delayed g-ray .
KamLAND events
e+
n
ne
g
g
g
p
d
prompt
~200ms delayed

## Slide 73
Near the KamLAND site, a total power of ~70GW reactors are located from distances (175±35) km. It is about 7% of reactors in the world.
The survival probability of anti-neutrino can be written as follows. Neutrino oscillation can be recognized when The first equation can be written as
Accordingly, disappearance of reactor ne can be found in the case of LMA solution.
If the LOW solution or Vacuum solution are the case, the baseline is too short. If the SMA solution is the case, the mixing angle is too small, and the resonance enhancement of oscillations in matter does not occur.
KamLAND and reactor anti-neutrinos

## Slide 74
KamLAND first result : LMA solution !
Data recorded between Mar. 4 and Oct. 6, 2002 was analyzed. The live time was 145.1 days, and the exposure was 162 ton・yr.
For the energy larger than 3.4 MeV, 54 events are observed, where the expectation for null oscillation is 86.8±5.6. The ratio is 0.611±0.085(stat)±0.041(syst).
The observation is smaller than the expectation with 99.95%C.L.
It is a strong evidence that the LMA solution is the answer for the solar neutrino problem.
Number of events
K.Eguchi et al., Phys. Rev. Lett.90, 021802(2003)

## Slide 75
charge must be 2+
×
Why D2O instead of H2O ?
Interaction with electron The ratio of the cross section is
NC/CC~1/6
Interaction with H Charged current interaction does not occur.
Interaction with O Neutrino energy is too low to break oxygen nuclei. Charged current interaction with neutron in oxygen cannot occur.
Interaction with H2O
charged current of electron neutrinos
neutral current of all neutrinos
If D2O is used instead of H2O, neutral current interactions can be measured by n + D -> n + p + n, and charged current interactions can be measured by n + D -> e- + p + p.

## Slide 76
SNO photo during construction
PMT array from outside
Acrylic vessel viewed by PMTs
Structures during installation

## Slide 77
Correlation with the sun activity cycle
Sun spot numbers
A correlation between 11-years of the sun activity cycle and solar neutrino flux is frequently addressed.
Solar neutrino fluxes over 20 years are plotted together with the sunspot numbers, which strongly correlated with the sun activity cycle.
Clearly, no correlation was found.
M.Ikeda for Super-Kamiokande collaboration, Talk at Neutrino 2018